## Sheet1
CBSUA CALABANGA SMART CAMPUS AREA NETWORK PROJECT
Items delivered and installed
| Date : | Jan 09, 2023
Location |  |  | Equipment and Accessories | Quantity
MDF CHDC Building |  |  | 6 ft Floor Mounted Data Cabinet | 1 unit
|  |  | 1.6 KVA UPS | 2 units
|  |  | Fiber Optical Distribution Frame ( ODF ) | 1 unit
|  |  | 24 port patch panel 1U | 1 unit
|  |  | 1U Harizontal Cable Management | 1 unit
|  |  | PDU Power Distribution | 1 unit
IDF Cluster A |  |  | 2 ft Wall Mounted Data Cabinet | 1 unit
ICT Building |  |  | 1.5 KVA UPS | 1 unit
|  |  | Fiber Optical Distribution Frame ( ODF ) | 1 unit
|  |  | 24 port patch panel 1U | 1 unit
|  |  | 1U Harizontal Cable Management | 1 unit
|  |  | PDU Power Distribution | 1 unit
IDF Cluster B |  |  | 2 ft Wall Mounted Data Cabinet | 1 unit
ADMIN Building |  |  | 1.5 KVA UPS | 1 units
|  |  | Fiber Optical Distribution Frame ( ODF ) | 1 unit
|  |  | 24 port patch panel 1U | 1 unit
|  |  | 1U Harizontal Cable Management | 1 unit
|  |  | PDU Power Distribution | 1 unit
IDF Cluster C |  |  | 2 ft Wall Mounted Data Cabinet | 1 unit
Electronocs Building |  |  | 1.5 KVA UPS | 1 units
|  |  | Fiber Optical Distribution Frame ( ODF ) | 1 unit
|  |  | 24 port patch panel 1U | 1 unit
|  |  | 1U Harizontal Cable Management | 1 unit
|  |  | PDU Power Distribution | 1 unit
Guard House |  |  | Lockable service entrance | 1 unit
LHS Bldg |  |  | 1.5 ft Wall Mounted Data Cabinet | 1 unit
|  |  | 650 VA UPS | 1 units
|  |  | PDU Power Distribution | 1 unit
|  |  | 24 port patch panel 1U | 1 unit
|  |  | 1U Harizontal Cable Management | 1 unit
LIBRARY |  |  | 1.5 ft Wall Mounted Data Cabinet | 1 unit
|  |  | 650 VA UPS | 1 units
|  |  | PDU Power Distribution | 1 unit
|  |  | 24 port patch panel 1U | 1 unit
|  |  | 1U Harizontal Cable Management | 1 unit
Multi-purpose (AP) |  |  | Access Point | 1 unit
Fisheries to Library (AP) |  |  | Access Point | 1 unit
EDUCATION |  |  | 1.5 ft Wall Mounted Data Cabinet | 1 unit
|  |  | 650 VA UPS | 1 unit
|  |  | PDU Power Distribution | 1 unit
|  |  | 24 port patch panel 1U | 1 unit
|  |  | 1U Harizontal Cable Management | 1 unit
SCIECE |  |  | Access Point | 1 unit
U TYPE |  |  | 1.5 ft Wall Mounted Data Cabinet | 1 unit
|  |  | 650 VA UPS | 1 units
|  |  | PDU Power Distribution | 1 unit
|  |  | 24 port patch panel 1U | 1 unit
|  |  | 1U Harizontal Cable Management | 1 unit
MULTI-Media |  |  | Access Point | 1 unit
COED Faculty |  |  | 1.5 ft Wall Mounted Data Cabinet | 1 unit
|  |  | 650 VA UPS | 1 units
|  |  | PDU Power Distribution | 1 unit
|  |  | 24 port patch panel 1U | 1 unit
|  |  | 1U Harizontal Cable Management | 1 unit
COED Class room |  |  | Access Point | 1 unit
Guard house |  |  | Access Point | 1 unit
HOSTEL |  |  | Access Point | 1 unit
Social hall |  |  | Access Point | 1 unit
Canteen |  |  | Access Point | 1 unit
Trade Bldg |  |  | Access Point | 1 unit
B.A.C office |  |  | 1.5 ft Wall Mounted Data Cabinet | 1 unit
|  |  | 650 VA UPS | 1 units
|  |  | PDU Power Distribution | 1 unit
|  |  | 24 port patch panel 1U | 1 unit
|  |  | 1U Harizontal Cable Management | 1 unit
Supply office |  |  | Access Point | 1 unit
ROCO Bldg |  |  | 1.5 ft Wall Mounted Data Cabinet | 1 unit
|  |  | 650 VA UPS | 1 units
|  |  | PDU Power Distribution | 1 unit
|  |  | 24 port patch panel 1U | 1 unit
|  |  | 1U Harizontal Cable Management | 1 unit
Auto Rac Bldg |  |  | Access Point | 1 unit
CHDC Building G/f |  |  | Access Point | 2 unit
CHDC Building 2nd flr |  |  | Access Point | 2 unit
Power House to CHDC Building |  |  | 50KVA Generator Set with ATS | 1 Unit
Prepared By: |  |  |  |  | Noted by:
JOSELITO CASTILLO |  |  |  |  | HENSON B. MENDOZA
Project-In-Charge |  |  |  |  | ICT-Coordinator, Calabanga